### CONCRETE TESTING METHODS

#### 1. Compressive Strength Test

The compressive strength test is performed on concrete cubes or cylinders
to determine the maximum load the specimen can withstand under compression.

Standard cube size: 150 mm × 150 mm × 150 mm.

Procedure:

- Concrete is cast in moulds.

- Specimens are cured for 7 or 28 days.

- Load is applied in a compression testing machine.

- Maximum load divided by area gives compressive strength.

#### 2. Water-Cement Ratio

The water-cement ratio is defined as the ratio of the weight of water
to the weight of cement used in a concrete mix.

Lower water-cement ratio → Higher strength
Higher water-cement ratio → Lower strength

It significantly affects:

- Strength

- Durability

- Permeability

#### 3. Curing of Concrete

Curing is the process of maintaining adequate moisture and temperature
in freshly placed concrete for hydration.

Methods of curing:

- Water curing

- Membrane curing

- Steam curing

Proper curing increases:

- Strength

- Durability

- Resistance to cracking